WBLCA Reporting Removed for Residential Projects – Request for Reconsideration

The October 30th, 2025 Workshop removed proposed requirements for WBLCA reporting for residential projects of more than 30 units.  This removal directly contradicts AB 2446.  The statute states:

“A requirement for the submission by an entity undertaking the construction of a project with a minimum size of five new residential units or 10,000 square feet of nonresidential building space of a life-cycle assessment, as defined in the International Organization for Standardization (ISO) 14040 series of standards…”

The statute clearly states that submission of an LCA is required for residential projects, so why has CARB proposed removing this requirement?  We recommend requiring WBLCA reporting for all residential projects that are five units or more as directed by the statute.  Alternatively, CARB may consider reverting to proposed requirements introduced in March (WBLCA for residential projects of more than 30 units) a “phase-in” before requiring WBLCA reporting for all covered projects in 2030.

The removal of WBLCA requirements for residential projects also undermines AB 2446.  The statute states:

“Under the updated Regional Housing Needs Assessment (RHNA), cities will face significant increases in housing production goals over the next 10 years.  To meet these increased goals from the RHNA, a considerable expansion of construction will have to occur statewide.”

These statements in the statute clearly indicate that residential construction is a focal point of AB 2446 and that significant residential construction will occur in California over the time period covered by the law.  If the purpose of AB 2446 is to require “a comprehensive strategy for the state’s building sector to achieve a 40% net reduction in greenhouse gas emissions of building materials,” how can CARB expect to satisfy that condition while excluding a significant portion of the new construction in the state from the “comprehensive strategy”?  The statute goes on to state:

“California is currently facing a housing shortage, and it is imperative that the state meet its housing goals. However, meeting those goals should not come at the expense of California’s climate goals.”

Therefore, the removal of residential covered projects from WBLCA clearly undermines the intention, goals, and purpose of the statute.  Again, we continue to recommend requiring WBLCA reporting for all residential projects that are five units or more as directed by the statute.  Alternatively, CARB may consider reverting to proposed requirements introduced in March (WBLCA for residential projects of more than 30 units) a “phase-in” before requiring WBLCA reporting for all covered projects in 2030.

Residential Covered Project Reporting – Proposed Approach

Consistent with the above recommendation to require ISO 14040 WBLCA reporting for all residential projects that are five units or more – as is directed by the statute – we view this approach, rather than the proposed “Basic Reporting” requirements, as more impactful toward achieving the goals of the statute and more feasible for residential project developers.

Residential project developers are typically able to estimate the quantities of building products utilized in their developments.  These building product quantities can be used to perform unit-based, product-specific ISO 14040 life cycle assessments – i.e., WBLCA Reporting.

Material cost data, however, which is currently proposed under “Basic Reporting” as the data source by which an EEIO-based calculation approach is dependent, is often contractually unavailable due to “turnkey” subcontractor pricing.  Therefore, not only is using material cost data through a “Basic Reporting” approach a lower quality approach due to its reliance on spend-based, EEIO calculations, using material cost data is also less feasible.

Additionally, requiring WBLCA reporting – as proposed – will guide residential project developers into unit-based, product-specific calculations that leverage EPDs produced by building product manufacturers from the Covered Building Material Reporting.  This approach thereby synergizes the two reporting components AB 2446, as intended, rather than a spend-based/EEIO approach, which does not allow residential project developers to leverage the Covered Building Material Reporting.

Furthermore, the WBLCA approach with unit-based, product-specific calculations allows residential developers to begin evaluating the carbon intensity of different building products from different manufacturers, explore lower carbon options, and understand the levers available to achieve the required reductions of 20 percent and 40 percent under AB 2446.  As a result, this approach incentivizes the production of lower carbon building products and helps achieve the goals of the statute.

Alternatively, under the proposed “Basic Reporting” approach, residential project developers will simply report spend data every year and “accept” a generic EEIO value without understanding the operational changes available to manage toward emissions reduction.  Then, 2030 will arrive, and they will be required to reduce without being guided down a path to do so.  Even more concerning, is changing in methodology from a spend-, EEIO-based calculation under “Basic Reporting” to a WBLCA approach in 2030 using data from the Covered Building Material Reporting represents such a massive shift in approach, that any demonstrated “reductions” are well within the range of uncertainty expected when shifting from lower quality data to higher quality data – i.e., the “reductions,” if achieved under two different calculation approaches, are not credible or consistent with the statute.

In conclusion, requiring ISO 14040 WBLCA reporting for all residential projects that are five units or more – as directed by the statute – and removing the (often contractually infeasible) cost per material requirement facilitates both the ease of implementation and achievement of the goals of AB 2446.

Greenhouse Gas Protocol Product Life Cycle Accounting and Reporting Standard, World Resources Institute, 2011.